INDIAN SOCIETY OF HAEMATOLOGY & BLOOD TRANSFUSION Christian Medical College, Vellore

External Quality Assessment Scheme

Haemostasis Module

Haemostasis Module

2026

Organized by

Departments of Hematology and Transfusion Medicine &Immunohaematology

Christian Medical College Vellore 632 004, Tamil Nadu, India

Contents

1.0	Introduction.....................................................................................................................	2

2.0 	Aims and Objectives.........................................................................................................	3

3.0 	Scope of the Program.......................................................................................................	4

4.0	Survey-related details.......................................................................................................	5

5.0 	Results .............................................................................................................................	6

6.0	Assessment of Results......................................................................................................	6

7.0 	Analysis............................................................................................................................	7

8.0 	Participant Action.............................................................................................................	7

9.0 	Calendar...........................................................................................................................	9

10.0 	Appendix ………………………………………………………………………………………………………………….	…10

# Introduction

  - The EQAS program is being provided on behalf of the Indian Society of Haematology &Blood Transfusion by Christian Medical College Vellore

  - This program is intended to develop awareness regarding quality assurance in the laboratory to improve overall patient-related diagnostic services.

  - An EQAS Committee will plan the activities of the EQAS.

| Chair | Dr. Alok Srivastava |
| --- | --- |
| Program Coordinator | Dr. Joy Mammen |
| Scientific Coordinator | Dr. Sukesh Nair Dr. Tulasi Geevar |
| Associate Program Coordinator | Ms. Sowmiya Bala |
| Technical Coordinators | Mr. Joel Thamburaj |
| Quality Manager | Mr. Stanley John |
| Biostatistician | Ms.ML Kavitha |

  - The EQAS Committee will be responsible to the ISHBT.

  - All correspondence should be addressed to:

## The Program Coordinator ISHBT – CMC EQAS

## Department of Transfusion Medicine Christian Medical College

## Vellore, Tamil Nadu- 632 004. India

## Tel: 91 – 416 – 228 3618.

## Email: haemeqa@cmcvellore.ac.in

Website: http://www.cmceqas.org

# Aims and Objectives

This section outlines and discusses the aims and objectives of the program.

  - Aim:

This program is intended to provide competent external proficiency testing to all levels of laboratories in India to improve the existing standards of diagnostic services in hemostasis.

  - Objectives:

To	increase	awareness	regarding	issues	of	quality	control	and proficiency testing in the field of hemostasis.

    - To produce quality control material for hemostasis testing following recommended procedures.

    - To arrange suitable packaging and forwarding services to cater to all laboratories wishing to participate in the program.

    - To analyze the results received and provide reports in a confidential manner to the participating laboratories.

    - To make suitable interventions available if requested by the participant laboratories, these will be at the organizer's discretion.

  - Participation in this program is voluntary

  - Analysis will be confidential. The intervention will only be at the written request of the participating laboratory.

  - This is not to monitor the services offered by the lab. There will be no punitive action on laboratories that are found to produce unacceptable results consistently.

# Scope of the Program

  - The program is intended to give the participating lab an objective impression of their accuracy and precision with reference to the other laboratories in the program.

  - All participants will have to register on the Registration Form provided by the Program Coordinator or downloaded at the website (www.cmceqas.org)

  - The participant must also complete a Methodology Survey Form with details of procedures used, reagents, and methods.

  - Analysis will depend on the data provided – since hemostasis is a method and reagent-dependent process. It is mandatory to fill in the details requested.

  - If there is any change in any component of the testing procedure, it should be updated on your profile page.

  - a four-digit Participant Identification Number (PIN #) will be assigned upon registration. E.g.: PIN # 1001

  - In all future correspondence, the PIN Number should be quoted.

  - The program will be strictly confidential regarding the analysis of results, and these will only be communicated to the address of the person provided at registration.

  - The program is not punitive.

  - The organizers, only on specific written requests of the participant, may extend technical and practical assistance.

  - Participation in the EQAS does not automatically validate the routine performance of the lab. This program does not replace internal quality control practices.

# Survey related details

  - Samples

    - All samples will be derived from human plasma. As far as possible, we will attempt to use plasma that has been screened for viral diseases. However since there are no tests that can completely screen for all diseases participants are advised to treat plasma with care.

    - All QC samples are to be treated and processed in a manner similar to routine patient samples.

  - Frequency:

    - There will be three surveys in a calendar year. A schedule will be provided to participants at the time of enrollment or at the beginning of the year.

    - Each survey will include a paired sample for each test.

  - Parameters:

4.3.1 Each survey will include the following tests for those labs appropriately registered.

|  | Prothrombin Time |
| --- | --- |
|  | Activated Partial Thromboplastin Time |
|  | Thrombin Time |
|  | Factor VIII:C Assay |
|  | Factor IX:C Assay |
|  | Fibrinogen Assay |
|  | Von Willebrand Factor Antigen Assay |
|  | Ristocetin Co-factor assay/ Collagen binding assay |

  - Other parameters may be added on at the discretion of the organizers in response to the needs of the participants.

  - The sample sent will suffice to perform the test in duplicate.

  - The mean result of the duplicate should be reported as routine practice in the laboratory.

# Results

The results obtained should be entered online before the closing date.

  - Appropriate codes should be used to refer to specific sections in the material provided.

  - As reports depend on the results of the participant labs, they may not be included if they are delayed.

  - If a test methodology is changed or a new reagent is used, you can edit it in your member area. The report may not reflect the actual situation if this information is not provided.

  - The website is activated, and participants may enter their results on the website using their member login profile.

# Assessment of Results

  - The overall aim of assessing results will be threefold:

    - To provide an overall summary of the correct and incorrect results

    - To provide each laboratory with an analysis of its performance in the current and previous surveys.

    - To assist in root cause analysis – help differentiate random errors from systematic errors

  - The results will be analyzed using the method described in  Section 7 (Analysis).

# Analysis

  - The target value and the limits of acceptable performance are based on statistical and clinical justifications

  - Target value is assigned in accordance with standard procedures specified in ISO documents.

  - Standard statistics for parametric distributions are performed. Standard Deviation for Proficiency Assessment (SDPA) is calculated using Algorithm A.

  - We have changed the assessment system for Factor assays from the aA-eE grading system to a percentage deviation system with limits of acceptable performance based on the assigned value.

  - To overcome the matrix effect, peer groups based on reagents will be considered for evaluation purposes. A minimum of 10 participants are required to form a peer group.

# Participant Action

  - The participant (Lab In-Charge) is expected to review the QC report received with the Lab supervisor and the concerned technologist.

  - There should be a feedback process to ensure that good results are acknowledged and results that are outwith consensus are reviewed to identify the possible source of error – random or systematic.

  - If the participant has any queries, these should be addressed to the Coordinator at the address specified above.

  - The participant may request technical assistance if the results show a consistent error.

  - This should be written to the coordinator at the address

specified above.

  - All such correspondence will be confidential.

  - The	Coordinator	will	make	all	attempts	to	provide	such assistance as requested, if feasible.

  - The coordinator is, however, not under any compulsion to assist if it is not feasible.

9.0   Force Majeure clause: We, as a Proficiency Testing provider, shall not be responsible for cancellation or delay in delivery of EQA consignment resulting from one or more of the force majeure events beyond our reasonable control, such as but not limited to: Acts of God, Earthquakes, Strike(s), Lockout(s), or other labour disturbances, Civil Commotion, War, Acts of terrorism, Riots, Epidemics, Fires, Floods or unusually severe weather conditions, Accidents or other contingencies, Nation/State- imposed restrictions, etc., the non- occurrence of which was a basic assumption on which the contract to provide PT services was made for the year. If the force majeure conditions continue beyond six (6) months, the parties shall mutually decide the future course of action.

## 10.0 CALENDAR:

| Activity | Month | Comment |
| --- | --- | --- |
| Start of New Cycle Renewal | January | Renewal of subscription for the coming year |
| Survey 1 | March | Samples dispatched Reports provided |
| Survey 2 | July | Samples dispatched Reports provided |
| Survey 3 | November | Samples dispatched Reports provided |

11.0   Appendix

| Parameter | Option Code | Option Text |
| --- | --- | --- |
| Method | A01 | Manual |
|  | A02 | Semi-Automated |
|  | A03 | Automated |
| End point detection | B01 | Optical Nephelometry |
|  | B02 | Optical Transmittance |
|  | B03 | Optical Turbidometry |
|  | B04 | Optical Absorbance |
|  | B05 | Mechanical |
|  | B06 | Electromechanical |
|  | B07 | Optomechanical |
|  | B08 | Aggregometry |
|  | B09 | Immuno-turbidometry |
|  | B10 | Enzyme-Linked Immuno Sorbent Assay (ELISA) |
|  | B11 | Line Immuno Assay (LIA) |
|  | B12 | Latex Assay |
|  | B13 | Light Scatter |
| Factor Assay Principle | C01 | Clot based |
|  | C02 | Chromogenic |
|  | C03 | von Clauss Technique |

|  | C04 | PT fibrinogen |
| --- | --- | --- |
| Source of plasma | D01 | Geometric Mean of 20 plasmas |
|  | D02 | The arithmetic mean of > 20 normal plasmas |
|  | D03 | Commercial plasma |
|  | D04 | Freeze-dried plasma pool |
|  | D05 | Pooled plasma (Not specified) |
| Thromboplastin reagent | E01 | Other (Specify) |
|  | E02 | Local (in-house) |
|  | E03 | Biopool Thromboplastin |
|  | E05 | Dade (Baxter) Thromboplastin IS |
|  | E06 | Dade (Behring) Thromborel R |
|  | E07 | Dade (Behring) Thromborel S |
|  | E08 | Dade Innovin |
|  | E09 | Diagen Freeze dried thromboplastin |
|  | E10 | DiamedDiaplastin |
|  | E11 | ImmunoImmunoplastin |
|  | E12 | Instrumentation Laboratory PT Fib HS |
|  | E13 | Instrumentation Laboratory PT Fib Recombinant |
|  | E15 | Sigma Thromboplastin |
|  | E16 | Pacific Haemostasis (not specified) |
|  | E17 | Coagpia PT - S (Sekisui) |
|  | E18 | Stago Neoplastin CI Plus |
|  | E20 | TCoag (Trinity Biotech) |
|  | E21 | Tulip Uniplastin |
|  | E22 | Tulip Liquiplastin |
|  | E23 | Helena PT Reagent |
|  | E24 | StagoTriniclot PT reagent |
|  | E26 | Haemosilrecombiplastin |
|  | E27 | Quickcoag PT reagent |
|  | E28 | Neoplastine R |
|  | E30 | Proieclot’s PT HS |
|  | E31 | Phophoplastin RL |
|  | E32 | Diagnosthrombo |
|  | E33 | Dialab Thromboplastin Liquid |
|  | E34 | Technoclone Technoloplastin |
|  | E35 | Erba Protime LS |
|  | E36 | Stago Neoptimal |
|  | E37 | Tulip Lyoplastin |
|  | E38 | Medirox MRX Owren’s PT |
| APTT reagent | F01 | Other (Specify) |
|  | F02 | Local (in-house) |

|  | F03 | Amax Alexin |
| --- | --- | --- |
|  | F04 | BiomerieuxPlatelin LS |
|  | F05 | Biopool APTT reagent |
|  | F06 | Dade (Behring) cephaloplastin |
|  | F07 | Dade (Behring) Pathromtin SL |
|  | F08 | Dade Actin |
|  | F09 | Dade Actin FSL |
|  | F10 | DiamedDiacelin |
|  | F11 | Helena APTT Reagent |
|  | F12 | Instrumentation Laboratory APTT SP |
|  | F13 | Instrumentation Laboratory Synthafax |
|  | F14 | Instrumentation Laboratory Synthasil |
|  | F15 | NycomedCephotest |
|  | F16 | Sigma APTT reagent |
|  | F17 | Stago CK Prest |
|  | F18 | Tulip Liquicelin |
|  | F19 | Tcoag APTT Reagent |
|  | F20 | Dade Actin FS |
|  | F21 | STA PTT Automate |
|  | F22 | Quickcoag APTT reagent |
|  | F23 | STA Cephascreen |
|  | F24 | Prieclot’s APTT reagent |
|  | F25 | Phospholin ES |
|  | F26 | Diagnos APTT |
|  | F28 | Technoclone Dapttin |
|  | F29 | Technoclone Siron LS |
|  | F30 | Erba Actime |
| TT reagent | G01 | Other (Specify) |
|  | G02 | Local (Inhouse) |
|  | G03 | BiomerieuxThromboquik |
|  | G04 | Helena Thrombin Time Reagent |
|  | G05 | Instrumentation Laboratory Test Thrombin |
|  | G06 | Merck Thrombin Time |
|  | G07 | Pacific Haemostasis Thrombin Time reagent |
|  | G08 | Dade (Siemens) Test Thrombin |
|  | G09 | Sigma Thrombin Reagent |
|  | G10 | Stago Thrombin reagent |
|  | G11 | Tcoag (Trinity Biotech) Thrombin time reagent |
|  | G12 | Tulip Fibroscreen |
|  | G13 | Technoclone Thrombin Reagent |

|  | G14 | Erba Thrombin Time |
| --- | --- | --- |
| Source of buffer | H01 | Local (in-house) |
|  | H02 | Commercial |
| Interpretation | J01 | Normal |
|  | J02 | Borderline |
|  | J03 | Abnormal |
|  | J04 | INR Above Therapeutic Interval |
|  | J05 | INR Within therapeutic interval |
|  | J06 | INR Below therapeutic interval |
|  | J07 | Correction study: Probable factor deficiency |
|  | J08 | Correction Study: Probable inhibitor |
| Analyzer | K01 | Other (Specify) |
|  | K02 | Amax Destiny |
|  | K03 | Amelung KC Series |
|  | K04 | BBL Fibrosystem |
|  | K05 | BenkhThrombolyser |
|  | K06 | BiobasCoagulomnater Clot 1 |
|  | K07 | BiomerieuxCoag A Mate series |
|  | K08 | ERBA Uno |
|  | K09 | Hemostar XF |
|  | K10 | Humaclot Junior |
|  | K11 | Instrumentation Laboratory ACL series100/1000/Eli |
|  | K12 | Instrumentation Laboratory Elite Pro |
|  | K13 | Instrumentation Laboratory Futura/Advance/Pro |
|  | K14 | Labor Coadata 2001 |
|  | K15 | Labor Fibrintimer |
|  | K16 | Pacific HaemostasisHaemoscreen |
|  | K17 | Stago Automate STA |
|  | K18 | Stago STA Compact |
|  | K19 | Stago STA Satellite |
|  | K20 | Sysmex CA 50 |
|  | K21 | Sysmex CA 500 |
|  | K22 | Sysmex CA 1500 |
|  | K23 | Sysmex CS 2000i |
|  | K24 | Trinity Biotech |
|  | K25 | Tulip CoaLab 6000 |
|  | K26 | Axiom Coadata 501 |
|  | K27 | Behnk CLP |
|  | K28 | Behnk Coagulator |

|  | K29 | Biomerieux OPTION series |
| --- | --- | --- |
|  | K30 | Diamed CD2 |
|  | K31 | Diamed CD4 |
|  | K32 | ERBA Coag 2 |
|  | K33 | Grifols Q |
|  | K34 | Instrumentation Laboratory CL Analyzer |
|  | K38 | RAL Technica Clot SP |
|  | K39 | Ceveron Alpha |
|  | K40 | Erba ECL 105 |
|  | K41 | Erba ECL 412 |
|  | K42 | Erba ECL 760 |
| Source of factor-deficient plasma | L01 | Local (in-house) |
|  | L02 | Commercial |

END OF DOCUMENT